# A. Project Management

## A1. Title and Approval Sheet

**U.S. Environmental Protection Agency**

**Office of Research and Development**

**Center for Environmental Measurement and Modeling**

***Atlantic Coastal Environmental Sciences Division***

***Watershed and Estuarine Diagnostics Branch***

**Quality Assurance Project Plan**

**Title:** High resolution spatial and temporal dynamics of freshwater cyanobacteria HABs

**QA Category:**  A B

**ORD National Program Project/Task ID:** Click here to enter text.

**QAPP was Developed:**  Intramurally  Extramurally: Click here to enter text.

**QAPP Accessibility:** QAPPs will be made internally accessible via the [ORD QAPP intranet site](https://intranet.ord.epa.gov/quality-assurance/qapps?combine=&field_qapp_project_lead_value=&title=&field_lab_value=cemm&field_qapp_project_type_value=&field_division_value=) upon final approval *unless the following statement is selected*.

I do NOT want this QAPP internally shared and accessible on the ORD intranet site.

**Project Type(s) (check all that apply):**

Environmental Measurements  Environmental Technology  Decision Support Tool  Existing Data  Informatics Geospatial  Method Development  Model Application  Model Development

Software and Data Management Remote Sensing  Technical Assessment  Other

**­­­­­­­­­­­­­­­­­­­­­­­­­­**

**Approvals**

**Prepared by:**

Stephen Shivers

*Signature Date*

**Branch Chief:**

Betty Kreakie

*Signature Date*

**QA Manager:**

Joseph Livolsi

*Signature Date*

## A2. Table of Contents

[A. Project Management 1](#_Toc531072403)

[A1. Title and Approval Sheet 1](#_Toc531072404)

[A2. Table of Contents 2](#_Toc531072405)

[A3. Distribution List 4](#_Toc531072406)

[A4. Project Organization 4](#_Toc531072407)

[A5. Problem Definition and Background 4](#_Toc531072408)

[A6. Project/Task Description 5](#_Toc531072409)

[A7. Quality Objectives and Criteria for Measurement Data 6](#_Toc531072410)

[A8. Special Training/Certifications 6](#_Toc531072411)

[A9. Documents and Records 7](#_Toc531072412)

[B. DATA GENERATION AND ACQUISITION 7](#_Toc531072413)

[B1. Experimental Design 7](#_Toc531072414)

[B2. Sampling Methods 8](#_Toc531072415)

[B3. Sample Handling and Chain of Custody 8](#_Toc531072416)

[B4. Analytical Methods 9](#_Toc531072417)

[B5. Quality Control 10](#_Toc531072418)

[B6/B7. Instrument/Equipment Calibration, Testing, Inspection, Maintenance 10](#_Toc531072419)

[B8. Inspection/Acceptance of Supplies and Consumables 11](#_Toc531072420)

[B9. Non-direct Measurements 11](#_Toc531072421)

[B10. Data Management 12](#_Toc531072422)

[C. ASSESSMENTS AND OVERSIGHT 12](#_Toc531072423)

[C1. Assessments and Response Actions 12](#_Toc531072424)

[C2. Reports to Management 13](#_Toc531072425)

[D. DATA VALIDATION AND USABILITY 13](#_Toc531072426)

[D1/D2. Data Review, Verification, and Validation/Verification and Validation Methods 13](#_Toc531072427)

[D3. Analysis and Reconciliation with User Requirements 13](#_Toc531072428)

[E. References 14](#_Toc531072429)

|  |  |  |  |
| --- | --- | --- | --- |
| **QAPP Revision History** | | | |
| **QAPP ID Number** | **Prepared By** | **Date of Revision** | **Description of Change** |
|  |  |  |  |
|  |  |  |  |

## A3. Distribution List

Joe LiVolsi, QA Officer, ACESD

Timothy Gleason, Branch Chief MAB, ACESD

Jeffrey Hollister, ACESD

Betty Kreakie, Branch Chief WEDB, ACESD

Stephen Shivers, ACESD

Unsure who to add here

## A4. Project Organization

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Name and Organization** | **Role** | **Email** | **City,State** | **Phone** |
| Stephen Shivers, ACESD | ORD Collaborator | shivers.stephen@epa.gov | Narragansett, RI | (401) 782-9629 |
| Jeff Hollister, ACESD | ORD Project Lead | hollister.jeff@epa.gov | Narragansett, RI | (401) 782-9655 |
| Betty Kreakie, ACESD | ORD Collaborator | kreakie.betty@epa.gov | Narragansett, RI | (401) 782-3067 |
| Steve Rego, ACESD | ORD Project Officer | rego.steven@epa.gov | Narragansett, RI | (401) 782- |
| Shasten Sherwell, ORISE, EPA Region 1 | ORISE/R1 Collaborator | sherwell.shasten@epa.gov | Boston, MA | (617) 918-1572 |
| Ian Dombroski, EPA Region 1/SNEP | R1 Collaborator | dombroski.ian@epa.gov | Boston, MA | (617) 918-1342 |
| Mary Jo Feuerbach, EPA Region 1/SNEP | R1 Collaborator | feuerbach.maryjo@epa.gov | Boston, MA | (617) 918-1578 |
| Shawn Henderson | Regional Project Lead | henderson.shawn@epa.gov | Lenexa, KS | (913) 551-7508 |
| Eliodora Chamberlain | Lead Region RSL | chamberlain.eliodora@epa.gov | Lenexa, KS | (913) 551-7745 |
| Stephen Krabbe | R7 Collaborator | krabbe.stephen@epa.gov | Lenexa, KS | (913) 551-7991 |
| Laura Webb | R7 Collaborator | webb.laura@epa.gov | Lenexa, KS | (913) 551-7435 |

## A5. Problem Definition and Background

Cyanobacteria and other harmful algae have been established as a recurring and persistent threat to human health and the environment. These aquatic communities vary across and within regions depending on many site conditions. Therefore, providing information to local lake managers and recreational users of waterbodies is important in protecting human health from the threat of cyanobacterial blooms. To accomplish this, there is a need to understand the relationship between the occurrence of harmful algal blooms and water quality parameters, such as dissolved oxygen, pH, conductivity, and temperature. Generally, most traditional methods of collecting these data are often cost prohibitive for many agencies, especially state, local, and tribal agencies. However, the possibility exists to collect these data *in situ* with newer low-cost sensors if they can be shown to work as well as the more traditional methods. This proposal aims to evaluate low-cost sensors’ viability as alternative methods for generating this data. A comparison study is planned for co-locating low-cost sensors with traditional methods (*e.g.,* direct measures via sondes and grab samples analyzed in laboratories) at one location in the Kansas City-metro area and one location in New England. Comparing results across broad regions with differing bloom characteristics, landscape legacies, and nutrient loads will provide more robust results and help test the performance of these low-cost sensors for many different lake types and settings. If successful, these sensors would provide a cost-effective solution for cyanobacteria bloom monitoring.

## A6. Project/Task Description

To evaluate the efficacy of these low-cost sensors, two sensor kits were purchased from FieldKit (~$750/kit) and mounted on a floating platform creating a CHEAP buoy. These CHEAP buoys will be deployed at one location (TBD) in KS and one location in MA (Shubael Pond). One CHEAP buoy will be co-located with a research buoy with a YSI EXO2 sonde in MA, and the KS buoy will be deployed in a location that will be regularly sampled with a sonde. This design will allow for comparison of the CHEAP buoy sensors with more expensive research-grade sensors. Ideally, these will be deployed before blooms begin and remain in place through the end of the growing season.

*Study Location(s):*Selected sampling locations in Kansas City, KS; and Cape Cod, Massachusetts

Shubael Pond is a small kettle pond (22.7 hectares) with a maximum depth of 12.2 m located in Barnstable, Massachusetts. Typical of a kettle pond, Shubael Pond lacks surface water connectivity with groundwater being the primary hydrologic connection. Shubael Pond, historically classified as oligotrophic, has experienced HABs in recent years resulting in pond closures to the public.

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **2022** | | | | | **2023** | | | |
| **Q1** | | **Q2** | **Q3** | **Q4** | **Q1** | **Q2** | **Q3** | **Q4** |
|  | |  |  |  |  |  |  |  |
|  | |  |  |  |  |  |  |  |
|  | |  |  |  |  |  |  |  |
|  | |  |  |  |  |  |  |  |
|  | |  |  |  |  |  |  |  |
|  | **QAPP Preparation** | | | | | | | |
|  | **Data collection (buoys deployed)** | | | | | | | |
|  | **Sample analysis** | | | | | | | |
|  | **Data Analysis** | | | | | | | |
|  | **Report, manuscript, or presentation preparation and submission** | | | | | | | |

## A7. Quality Objectives and Criteria for Measurement Data

The overall quality objective for this project is to generate field data to evaluate the efficacy of low-cost sensors to identify bloom predictors. The quality objectives will be maintained by utilizing appropriate quality control measures in both the lab and the field. Regular calibration of field instruments should minimize error produced by the sondes (see Tables 1 and 2 for measurement range and resolution). Rigorous application of QA/QC policies in EPA SOPs (see Section B4 for analytical methods) will be applied during laboratory procedures to ensure data quality and minimize instrumentation or procedural error.

## A8. Special Training/Certifications

None of the field tasks require special training or certification. Standard training using analyzers at ACESD will be given by technicians or others who have expertise with the method. Training will be documented via the ORD competency forms.

## A9. Documents and Records

Stephen Shivers will be responsible for maintaining and updating this QAPP. All field equipment calibrations will be logged in the field notebook upon completion. Any deviance that requires recalibration will also be noted. Dates and times of calibration standard creation for lab procedures will be noted in the lab notebook. Results from standard curves will also be added to the lab notebook.

*Field Tasks*

Site observations will be recorded in Rite in the Rain notebooks (see Section A.5 for description of data to be collected). Data will be transferred from buoy storage to EPA server storage, which is backed up regularly (see section B10 for details on data management). This study falls into QA Category B for basic environmental research and will follow records schedule 1035b, records will be held for twenty years after project is completed. Data from the research buoys will be transferred from the buoy to a vendor site, <https://wqdatalive.com>, every 15 minutes, transferred from the vendor site to EPA’s SFTP site twice daily. The data are retrieved daily from EPAs SFTP daily. Data from the CHEAP buoys will be stored onboard and retrieved approximately every two weeks.

*Laboratory Tasks*

Data output from the Turner Designs Trilogy fluorometer (chlorophyll a analysis) will be transferred to a local laptop, converted to .csv format using R, and stored on EPA server storage (see section B10 for details on data management). All laboratory notes will be handwritten in an EPA approved laboratory notebook. This study falls into QA Category B for basic environmental research and will follow records schedule 1035b, records will be held for twenty years after project is completed.

# B. DATA GENERATION AND ACQUISITION

## B1. Experimental Design

CHEAP buoys will be placed within lakes before the bloom season begins (ideally installed by May 31) to capture baseline data before bloom occurrence. These buoys will remain in place through the end of the bloom season (approximately November/December). A map with buoy coordinates will be added after deployment. Each buoy will have a suite of low-cost sensors (temperature, dissolved oxygen, pH, and conductivity) collecting physical data. A CHEAP buoy will be co-located in Shubael Pond with a research grade buoy. These buoys will have a multiparameter sonde collecting physical and biological data (temperature, pH, dissolved oxygen, conductivity, turbidity, chlorophyll *a*, and phycocyanin), as well as a nitrate sensor, collecting data continuously (15 minute intervals). Water samples will be collected once per month in triplicate for lab analyses (chlorophyll a, phycocyanin, and microcystin).

## B2. Sampling Methods

Physical parameters will be measured using sensors connected to a FieldKit controller and mounted on a floating platform. The sensor package will be suspended just below the water surface. Temperature, dissolved oxygen, pH, and conductivity will be measured continuously. Data will be stored using onboard storage and will be retrieved periodically. We will explore methods for sending data via wifi communications. Measurements of the same parameters (temperature, conductivity, dissolved oxygen, and pH) will also be taken at the CHEAP buoy location using a handheld multiparameter sonde and/or be compared with a research grade sonde suspended below a monitoring buoy.

Water samples will be collected in triplicate from the surface in acid-washed 1 L amber bottles. The bottle shall be triple rinsed with lake water before collecting the final sample. Bottles will be placed in a cooler on ice until returning to the lab.

## B3. Sample Handling and Chain of Custody

Field collection bottles will be clearly labeled at the time of collection with the date and site name. Bottles will be stored in a cooler on ice until returning to the lab to prevent sample degradation caused by heat and/or light. All samples will be filtered and/or stored within 24 hours of collection. Chlorophyll *a* and phycocyanin samples will be filtered using pre-ashed GF/F (0.7 µm) filters.

Chlorophyll *a:* Samples will be filtered under reduced light conditions (no direct sunlight). 400 mL of water will be filtered onto filters for chlorophyll *a* analysis. If chlorophyll *a* concentrations are high causing reduced filtration rates, smaller volumes of water may be filtered. The volume of water that was filtered will be written on the foil packet along with the site name and collection date. Filters will be wrapped in foil and stored frozen (below 0 °C) until extraction. To start extraction, filters will be placed in 15 mL polystyrene tubes (prefilled with 90% acetone). The tubes will be stored in the freezer for a minimum of 12 hours before analysis.

Phycocyanin: An additional 400 mL of water will be filtered onto filters for phycocyanin analysis using the same method as was described for chlorophyll a. Filters will be wrapped in foil and stored in the freezer until extraction. The volume of water that was filtered will be written on the foil packet along with the site name and collection date. Filters will be wrapped in foil and stored frozen (below 0 °C) until extraction.

Cyanotoxin: Unfiltered water for cyanotoxin analysis will be distributed into 20 mL glass scintillation vials, frozen (below 0 °C), and held until processing.

Chlorophyll a and phycocyanin will be extracted and analyzed within 60 days of collection.

## B4. Analytical Methods

Chlorophyll a determination will use fluorometric analysis. A known quantity of water will be filtered through 47 mm GF/F filters. Frozen filters will be placed in 15 mL polystyrene tubes (containing 10 mL of 90% acetone) and sonicated in a sonicating water bath for 20 minutes. Determination will proceed following the ACESD SOP for non-acid determination of chlorophyll a using a Turner Designs Trilogy fluorometer (J-ACESD-MAB-SOP-1425-0, Non-Acid Determination of Chlorophyll a Using a Turner Designs Trilogy Fluorometer).

Phycocyanin determination will use fluorometric analysis. A known quantity of water will be filtered through 47 mm GF/F filters. Frozen filters will be placed in 30 mL centrifuge tubes containing 20 mL of 50 mM phosphate buffer and sonicated in a sonicating water bath for 15 minutes under reduced light. The samples will be refrigerated for 2 hours then placed in a dark storage cabinet to warm to room temperature (total extract time of 3 hours). The samples will be analyzed for phycocyanin using a fluorometer fitted with a phycocyanin module (Orange) based on Kasinak et al 2015 and will follow J-ACESD-MAB-SOP-3949-0, Determination of Phycocyanin Using a Turner Designs Trilogy Fluorometer.

Cyanotoxin determination will use enzyme-linked immunosorbent assays (ELISA). Unfiltered water samples in 20 mL glass scintillation vials will undergo a freeze thaw cycle three times. After the third cycle, water will be filtered using a 25mm glass fiber syringe filter (1.0 μm) and transferred to a new glass scintillation vial. The assays will proceed according to kit manufacturer instructions and EPA guidelines (EPA Method 546 and EPA 841-B-11-004).

## B5. Quality Control

QC checks, such as spikes and duplicates, are integral to ensuring data integrity and will be used whenever possible. QC checks are method dependent and are discussed in detail in the methods listed in the appendix.

## B6/B7. Instrument/Equipment Calibration, Testing, Inspection, Maintenance

All analytical equipment (fluorometer and microplate reader), sondes, pipettes, and balances are maintained in accordance with manufacturer standards by ACESD.

Instrument calibration is critical for ensuring data quality and will be performed frequently. The handheld sondes will be calibrated before each sampling trip. Fluorometer accuracy will be assessed before each sample run using a secondary solid calibration standard. Other analytical equipment will be calibrated before each sample run by the designated operator at ACESD.

## B8. Inspection/Acceptance of Supplies and Consumables

All research team members are responsible for ensuring all necessary supplies and consumables (i.e. pH buffers and conductivity standards) are available when needed.

## B9. Non-direct Measurements

Shubael Pond has been monitored in the past by various organizations (e.g. Town of Barnstable, Barnstable Clean Water Coalition, Association to Protect Cape Cod, and UMASS-Dartmouth). Best available data will be used as historical context and to aid in data interpretation.

## B10. Data Management

All manual field data will be recorded on Rite-In-The-Rain paper to prevent reduced legibility from contact with water and will be transferred approximately weekly to the project repository. Data from analytical equipment will be transferred to the project repository shortly after procedure completion. Data for this task are to be under version control (e.g. via git) and will be stored both locally on team members local drives, backed up to the L:/ drive, and remotely on USEPA’s GitHub Enterprise organization. Access to the project repository will be available for all project collaborators via GitHub.

As this project will combine data from multiple field sensors, lab instruments, and hand written notes, great care will need to be taken in merging the data into an analytical dataset. The dataset itself can be simply constructed as a flat csv file. Raw data from laboratory instruments (immediately following procedure completion) and files from field sensors with data loggers will be downloaded as raw files into the version controlled repository. Manual data entry will be conducted via Excel into csv files. Data aggregation for all sources will be scripted and automated as much as is feasible. QA/QC checks will be performed via R scripts.

Code for this project will be developed following standard best practices, which include full documentation, code review, and use of a version control system (i.e. git). Collaboration on code development will be facilitated via GitHub.

R will be the primary analytical language; however, we will explore others (e.g. python

, javascript, c++, etc.) as required. The computational work for this project relies on open source software, and versions of most open source software packages change often. Thus, specifying these *a priori* is not recommended as versions will change. To ensure reproducibility of our work, we will include specifications of software and operating system details (e.g. versions of R, packages, and operating system) for all research products such that others can recreate the computational environment used for our analyses.

Lastly, all code, data, and documents will be managed as a research compendium (e.g. Marwick et al. 2018, <https://doi.org/10.1080/00031305.2017.1375986>). The compendium will be available via GitHub, archived on Zenodo, and will follow standard for research compendia written in the R language. A final README file will outline the file and directory structure and will be completed upon completion of the project.

# C. ASSESSMENTS AND OVERSIGHT

## C1. Assessments and Response Actions

The project co-leads (Henderson and Hollister) will be responsible for overall oversight of the project. They will also initiate action in response to QA/QC issues. This research project falls into QA Category B. Assessments are not required but may occur at the discretion of management and/or QA staff, in which case they will be discussed, scheduled, and conducted at the convenience of QA manager and the project staff.

## C2. Reports to Management

Annual reports will be provided to management, if requested, as a measure of accountability and a barometer of project success.

# D. DATA VALIDATION AND USABILITY

## D1/D2. Data Review, Verification, and Validation/Verification and Validation Methods

All data produced by analytical equipment will be reviewed for issues upon output. All handwritten data will be inspected and reviewed for issues created when transferring from notebook to database.

The inclusion of duplicates during analyte determination will validate data quality. All analytical output will be reviewed to ensure that QC checks are within the tolerances established in the corresponding methodologies. All manually entered data will be inspected for potential problems (e.g. transpositions).

Data from the buoy sensors will be compared to the freshly calibrated handheld to check for drift. Additionally, sensor-based chlorophyll *a* andphycocyanin measurements will be checked against fluorometery and for appropriateness of general trends. It is important to note that extracted chlorophyll and phycocyanin from the Trilogy fluorometer are inherently different measurements than the *in situ* chlorophyll and phycocyanin from the sensors, but they both should track general trends (e.g. increasing extracted chlorophyll will also show as increasing *in situ* chlorophyll).

## D3. Analysis and Reconciliation with User Requirements

Any analytical output that exceeds method tolerances will be rerun on a batch scale and reviewed again upon completion. Any errors found in manually entered data will be verified against the original handwritten data logs and corrected as needed.

# E. References

Kasinak, J-M, B. Holt, M. Chislock, and A. Wilson. 2015. Benchtop Fluorometry of Phycocyanin as a Rapid Approach for Estimating Cyanobacterial Biovolume. Journal of Plankton Research 37: 248-257.

Mack, H.R., J. Conroy, K. Blocksom, R. Stein, and S. Ludsin. 2012. A comparative analysis of zooplankton field collection and sample enumeration methods. Limnology and Oceanography: Methods 10:41-53.

USEPA. 2011. 2012 National Lakes Assessment, Field Operations Manual. EPA 841-B-11-003. U.S. Environmental Protection Agency, Washington, D.C.

USEPA. 2012. 2012 National Lakes Assessment, Laboratory Operations Manual. EPA 841-B-11-004. U.S. Environmental Protection Agency, Washington, D.C.

USEPA. 2016. Method 546 Determination of Total Microcystins and Nodularins in Drinking Water and Ambient Water by Adda Enzyme-Linked Immunosorbent Assay. U.S. Environmental Protection Agency, Cincinnati, OH.

USEPA. 2016. Non-Acid Determination of Chlorophyll *a* Using a Turner Designs Trilogy Fluorometer. Atlantic Ecology Division, Narragansett, RI.

**Table 1: YSI EXO 2 sonde probe specifications**

|  |  |  |  |
| --- | --- | --- | --- |
|  | Range | Accuracy | Resolution |
| Temperature | -5-50 °C | ± 0.2 °C | 0.001 °C |
| Dissolved oxygen | 0-50 mg/L | (0-20 mg/L: ± 0.1 mg/L or 1.0% of reading; 20-50 mg/L: ± 5% of reading ) | 0.01 mg/L |
| pH | 0-14 | ± 0.2 | 0.01 |
| Salinity | 0-70 ppt | ± ( 0.2 ppt or 2.0% of reading) | 0.01 ppt |
| Conductivity | 0-100 mS/cm | ± (1.0 % of reading or 0.002 mS/cm) | 0.001 mS/cm |
| Chlorophyll a | 0-100 rfu; 0-400 µg/L | Linearity: r2≥0.999 for Rhodamine WT | 0.01 rfu; 0.01 µg/L |
| Phycocyanin | 0-100 rfu; 0-100 µg/L | Linearity: r2≥0.999 for Rhodamine WT | 0.01 rfu; 0.01 µg/L |
| Turbidity | 0-4000 FNU | 0.3 FNU or ± 2% of reading |  |

**Table 2: Fieldkit sensor specifications**

|  |  |  |
| --- | --- | --- |
| Sensor | Range | Accuracy |
| Dissolved Oxygen | 0.01-100 mg/L | ±0.05 mg/L |
| pH | 0.001-14.000 | ±0.002 |
| Temperature | -40-125 °C | ±0.35 °C |
| Conductivity | 0-500000 µS/cm | ±10000 µS/cm |